## Sheet1
Board: | M79 ADR Internal Connector to Pre-amp Board
Connector: | CRY_ADR_301B |  | M79 circular to D-sub 25 socket
Length | 36"
Date | Rev | Notes
2012-10-05 | 1 | Phil's wirelist based off Sarah's big document
| From: | To:
Signal | Pin | Connector | Pin | Wire Spec | Comments
Pass 1 | 1 | GRT_HOT_P701 | 6 | AWG 24
Pass 2 | 2 | GRT_HOT_P701 | 7 | AWG 24
touch | 3 | GRT_HOT_P701 | 5 | AWG 24
15 p | 4 | GRT_HOT_P701 | 2 | AWG 24, tp #5
15 m | 5 | GRT_HOT_P701 | 4 | AWG 24, tp #4
mag p | 6 | OPEN ENDED |  | AWG 24, tp #33
mag p | 7 | OPEN ENDED |  | AWG 24, tp #34
mag p | 8 | OPEN ENDED |  | AWG 24, tp #35
mag p | 9 | OPEN ENDED |  | AWG 24, tp #36
lhe v p | 10 | OPEN ENDED |  | AWG 24, tp #11
lhe v m | 11 | OPEN ENDED |  | AWG 24, tp #10
grt a rd amp m | 12 | GRT_HOT_P701 | 17 | AWG 24, tsp #13 & #39
grt a rd amp p | 13 | GRT_HOT_P701 | 16 | AWG 24, tsp #12 & #39
grt b rd amp m | 14 | GRT_HOT_P701 | 24 | AWG 24, tsp #15 & #40
grt b rd amp p | 15 | GRT_HOT_P701 | 23 | AWG 24, tsp #14 & #40
grt b dr | 16 | GRT_HOT_P701 | 21 | AWG 24, tp #41
grt a dr | 17 | GRT_HOT_P701 | 14 | AWG 24, tp #42
gaasx20 | 18 | GRT_HOT_P701 | 9 | AWG 24, tsp #43 & #62
mag rd amp p | 19 | GRT_HOT_P701 | 11 | AWG 24, tsp #44 & #63
grt a scale | 20 | GRT_HOT_P701 | 19 | AWG 24
grt b scale | 21 | GRT_HOT_P701 | 20 | AWG 24
spare | 22
he therm v p | 23
he therm v m | 24
he therm I p | 25
he therm I m | 26
dewar ground | 27
chassis | 28 | GRT_HOT_P701 | 1 | AWG 24
SA heater + | 29
FEA heater I+ | 30
FEA heater I- | 31
15 p return | 32 | GRT_HOT_P701 | 3 | AWG 24
mag m | 33 | OPEN ENDED |  | AWG 24, tp #6
mag m | 34 | OPEN ENDED |  | AWG 24, tp #7
mag m | 35 | OPEN ENDED |  | AWG 24, tp #8
mag m | 36 | OPEN ENDED |  | AWG 24, tp #9
lhe I p | 37 | OPEN ENDED |  | AWG 24, tp #38
lhe I m | 38 | OPEN ENDED |  | AWG 24, tp #37
grt a rd amp shield | 39 | GRT_HOT_P701 | 18 | AWG 24, tsp #12 & #13
grt b rd amp shield | 40 | GRT_HOT_P701 | 25 | AWG 24, tsp #14 & #15
grt b dr ret | 41 | GRT_HOT_P701 | 22 | AWG 24, tp #16
grt a dr ret | 42 | GRT_HOT_P701 | 15 | AWG 24, tp #17
voltage_gaas | 43 | GRT_HOT_P701 | 8 | AWG 24, tsp #18 & #62
mag rd amp m | 44 | GRT_HOT_P701 | 12 | AWG 24, tsp #19 & #63
OA filter temp p | 45
IA filter temp p | 46
IA filter temp m | 47
2K filt temp V+ | 48
2K filt temp V- | 49
insert diode p *** | 50
insert diode m *** | 51
SA heater - | 52
FEA heater V+ | 53
FEA heater V- | 54
OA filter heat m | 55
IA filter heat m | 56
2K filter heater - | 57
HTS hot p | 58
HTS hot m | 59
HTS cold m | 60
IAS therm p | 61
GaAs shield | 62 | GRT_HOT_P701 | 10 | AWG 24, tsp #18 & #43
mag rd amp shield | 63 | GRT_HOT_P701 | 13 | AWG 24, tsp # 19 & #44
OAS filt temp m | 64
2K filt temp I+ | 65
2K filt temp I- | 66
spare | 67
spare | 68
OA filter heat p | 69
IA filter heat p | 70
2K filter heater | 71
HTS cold p | 72
IAS therm m | 73
OAS therm p | 74
OFS therm p | 75
OFS therm m | 76
IFS therm p | 77
IFS therm m | 78
OAS therm m | 79
Please make cable 4 feet long