## Sheet1
Board: | M79 ADR Internal Connector to Pre-amp Board
Connector: | CRY_ADR_301B |  |  |  | M79 circular to D-sub 25 socket
Length | 48"
Date | Rev |  |  | Notes
2012-10-05 | 1 |  |  | Phil's wirelist based off Sarah's big document
2012-10-22 | 2 |  |  | Reformated so that the pairs/shields are easier to understand
| From: |  |  | To:
Signal | Pin | Twisted With | Shield | Connector | Pin | Wire Spec | Comments
Pass 1 | 1 |  |  | GRT_HOT_P701 | 6 | AWG 24
Pass 2 | 2 |  |  | GRT_HOT_P701 | 7 | AWG 24
touch | 3 |  |  | GRT_HOT_P701 | 5 | AWG 24
15 p | 4 | 5 |  | GRT_HOT_P701 | 2 | AWG 24, tp
15 m | 5 | 4 |  | GRT_HOT_P701 | 4 | AWG 24, tp
mag p | 6 | 33 |  | red banana | 1 | AWG 24, tp
mag p | 7 | 34 |  | red banana | 1 | AWG 24, tp
mag p | 8 | 35 |  | red banana | 1 | AWG 24, tp
mag p | 9 | 36 |  | red banana | 1 | AWG 24, tp
lhe v p | 10 | 11 |  | open ended crimp socket |  | AWG 24, tp
lhe v m | 11 | 10 |  | open ended crimp socket |  | AWG 24, tp
grt a rd amp m | 12 | 13 | 39 | GRT_HOT_P701 | 17 | AWG 24, tsp
grt a rd amp p | 13 | 12 | 39 | GRT_HOT_P701 | 16 | AWG 24, tsp
grt b rd amp m | 14 | 15 | 40 | GRT_HOT_P701 | 24 | AWG 24, tsp
grt b rd amp p | 15 | 14 | 40 | GRT_HOT_P701 | 23 | AWG 24, tsp
grt b dr | 16 | 41 |  | GRT_HOT_P701 | 21 | AWG 24, tp
grt a dr | 17 | 42 |  | GRT_HOT_P701 | 14 | AWG 24, tp
gaasx20 | 18 | 43 | 62 | GRT_HOT_P701 | 9 | AWG 24, tsp
mag rd amp p | 19 | 44 | 63 | GRT_HOT_P701 | 11 | AWG 24, tsp
grt a scale | 20 |  |  | GRT_HOT_P701 | 19 | AWG 24
grt b scale | 21 |  |  | GRT_HOT_P701 | 20 | AWG 24
spare | 22
he therm v p | 23
he therm v m | 24
he therm I p | 25
he therm I m | 26
dewar ground | 27
chassis | 28 |  |  | GRT_HOT_P701 | 1 | AWG 24
SA heater + | 29
FEA heater I+ | 30
FEA heater I- | 31
15 p return | 32 |  |  | GRT_HOT_P701 | 3 | AWG 24
mag m | 33 | 6 |  | black banana | 1 | AWG 24, tp
mag m | 34 | 7 |  | black banana | 1 | AWG 24, tp
mag m | 35 | 8 |  | black banana | 1 | AWG 24, tp
mag m | 36 | 9 |  | black banana | 1 | AWG 24, tp
lhe I p | 37 | 38 |  | open ended crimp socket |  | AWG 24, tp
lhe I m | 38 | 37 |  | open ended crimp socket |  | AWG 24, tp
grt a rd amp shield | 39 |  |  | GRT_HOT_P701 | 18 | AWG 24, tsp
grt b rd amp shield | 40 |  |  | GRT_HOT_P701 | 25 | AWG 24, tsp
grt b dr ret | 41 | 16 |  | GRT_HOT_P701 | 22 | AWG 24, tp
grt a dr ret | 42 | 17 |  | GRT_HOT_P701 | 15 | AWG 24, tp
voltage_gaas | 43 | 18 | 63 | GRT_HOT_P701 | 8 | AWG 24, tsp
mag rd amp m | 44 | 19 | 63 | GRT_HOT_P701 | 12 | AWG 24, tsp
OA filter temp p | 45
IA filter temp p | 46
IA filter temp m | 47
2K filt temp V+ | 48
2K filt temp V- | 49
insert diode p *** | 50
insert diode m *** | 51
SA heater - | 52
FEA heater V+ | 53
FEA heater V- | 54
OA filter heat m | 55
IA filter heat m | 56
2K filter heater - | 57
HTS hot p | 58
HTS hot m | 59
HTS cold m | 60
IAS therm p | 61
GaAs shield | 62 |  |  | GRT_HOT_P701 | 10 | AWG 24, tsp
mag rd amp shield | 63 |  |  | GRT_HOT_P701 | 13 | AWG 24, tsp
OAS filt temp m | 64
2K filt temp I+ | 65
2K filt temp I- | 66
spare | 67
spare | 68
OA filter heat p | 69
IA filter heat p | 70
2K filter heater | 71
HTS cold p | 72
IAS therm m | 73
OAS therm p | 74
OFS therm p | 75
OFS therm m | 76
IFS therm p | 77
IFS therm m | 78
OAS therm m | 79
Please make cable 4 feet long